## Legend
Column heading | Explanation
Configuration ID | Identification of the tested configuration
CCT_[K]_prof_sw | Correlated Color Temperature calculated using the proprietary software and spectrum of the PRx-sp
CCT_[K]_prof_Luxpy | Correlated Color Temperature calculated using LuxPy and spectrum of the PRx-sp
CCT_[K]_low_Luxpy | Correlated Color Temperature calculated using LuxPy and spectrum of the LC1-sp
E_[lx]_prof_sw | Illuminance calculated using the proprietary software and spectrum of the PRx-sp
E_[lx]_prof_Luxpy | Illuminance calculated using LuxPy and spectrum of the PRx-sp
E_[lx]_prof_CIE | Illuminance calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
E_[lx]_low_Luxpy | Illuminance calculated using LuxPy and spectrum of the LC1-sp
CRI_[Ra]_prof_sw | Color Rendering Index calculated using the proprietary software and spectrum of the PRx-sp
CRI_[Ra]_prof_LuxPy | Color Rendering Index calculated using LuxPy and spectrum of the PRx-sp
CRI_[Ra]_low_Luxpy | Color Rendering Index using LuxPy and spectrum of the LC1-sp
α-opic irr_L-cone_[W.m-2]_prof_LuxPy | α-opic irradiance - L-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic irr_M-cone_[W.m-2]_prof_LuxPy | α-opic irradiance - M-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic irr_S-cone_[W.m-2]_prof_LuxPy | α-opic irradiance - S-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic irr_Rhodopic_[W.m-2]_prof_LuxPy | α-opic irradiance - Rhodopic calculated using LuxPy and spectrum of the PRx-sp
α-opic irr_Melanopic_[W.m-2]_prof_LuxPy | α-opic irradiance - Melanopic calculated using LuxPy and spectrum of the PRx-sp
α-opic irr_L-cone_[W.m-2]_prof_CIE | α-opic irradiance - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic irr_M-cone_[W.m-2]_prof_CIE | α-opic irradiance - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic irr_S-cone_[W.m-2]_prof_CIE | α-opic irradiance - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic irr_Rhodopic_[W.m-2]_prof_CIE | α-opic irradiance - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic irr_Melanopic_[W.m-2]_prof_CIE | α-opic irradiance - Melanopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic irr_L-cone_[W.m-2]_low_LuxPy | α-opic irradiance - L-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic irr_M-cone_[W.m-2]_low_LuxPy | α-opic irradiance - M-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic irr_S-cone_[W.m-2]_low_LuxPy | α-opic irradiance - S-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic irr_Rhodopic_[W.m-2]_low_LuxPy | α-opic irradiance - Rhodopic calculated using LuxPy and spectrum of the LC1-sp
α-opic irr_Melanopic_[W.m-2]_low_LuxPy | α-opic irradiance - Melanopic calculated using LuxPy and spectrum of the LC1-sp
α-opic irr_L-cone_[W.m-2]_low_CIE | α-opic irradiance - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic irr_M-cone_[W.m-2]_low_CIE | α-opic irradiance - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic irr_S-cone_[W.m-2]_low_CIE | α-opic irradiance - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic irr_Rhodopic_[W.m-2]_low_CIE | α-opic irradiance - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic irr_Melanopic_[W.m-2]_low_CIE | α-opic irradiance - Melanopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic elr_L-cone_[mW.lm-1]_prof_LuxPy | α-opic efficacy of luminous radiation - L-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic elr_M-cone_[mW.lm-1]_prof_LuxPy | α-opic efficacy of luminous radiation - M-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic elr_S-cone_[mW.lm-1]_prof_LuxPy | α-opic efficacy of luminous radiation - S-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic elr_Rhodopic_[mW.lm-1]_prof_LuxPy | α-opic efficacy of luminous radiation - Rhodopic calculated using LuxPy and spectrum of the PRx-sp
α-opic elr_Melanopic_[mW.lm-1]_prof_LuxPy | α-opic efficacy of luminous radiation - Melanopic calculated using LuxPy and spectrum of the PRx-sp
α-opic elr_L-cone_[mW.lm-1]_prof_CIE | α-opic efficacy of luminous radiation - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic elr_M-cone_[mW.lm-1]_prof_CIE | α-opic efficacy of luminous radiation - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic elr_S-cone_[mW.lm-1]_prof_CIE | α-opic efficacy of luminous radiation - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic elr_Rhodopic_[mW.lm-1]_prof_CIE | α-opic efficacy of luminous radiation - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic elr_Melanopic_[mW.lm-1]_prof_CIE | α-opic efficacy of luminous radiation - Melanopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic elr_L-cone_[mW.lm-1]_low_LuxPy | α-opic efficacy of luminous radiation - L-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic elr_M-cone_[mW.lm-1]_low_LuxPy | α-opic efficacy of luminous radiation - M-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic elr_S-cone_[mW.lm-1]_low_LuxPy | α-opic efficacy of luminous radiation - S-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic elr_Rhodopic_[mW.lm-1]_low_LuxPy | α-opic efficacy of luminous radiation - Rhodopic calculated using LuxPy and spectrum of the LC1-sp
α-opic elr_Melanopic_[mW.lm-1]_low_LuxPy | α-opic efficacy of luminous radiation - Melanopic calculated using LuxPy and spectrum of the LC1-sp
α-opic elr_L-cone_[mW.lm-1]_low_CIE | α-opic efficacy of luminous radiation - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic elr_M-cone_[mW.lm-1]_low_CIE | α-opic efficacy of luminous radiation - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic elr_S-cone_[mW.lm-1]_low_CIE | α-opic efficacy of luminous radiation - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic elr_Rhodopic_[mW.lm-1]_low_CIE | α-opic efficacy of luminous radiation - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic elr_Melanopic_[mW.lm-1]_low_CIE | α-opic efficacy of luminous radiation - Melanopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic edi_L-cone_[lx]_prof_LuxPy | α-opic equivalent daylight (D65) illuminance - L-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic edi_M-cone_[lx]_prof_LuxPy | α-opic equivalent daylight (D65) illuminance - M-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic edi_S-cone_[lx]_prof_LuxPy | α-opic equivalent daylight (D65) illuminance - S-cone-opic calculated using LuxPy and spectrum of the PRx-sp
α-opic edi_Rhodopic_[lx]_prof_LuxPy | α-opic equivalent daylight (D65) illuminance - Rhodopic calculated using LuxPy and spectrum of the PRx-sp
α-opic edi_Melanopic_[lx]_prof_LuxPy | α-opic equivalent daylight (D65) illuminance - Melanopic calculated using LuxPy and spectrum of the PRx-sp
α-opic edi_L-cone_[lx]_prof_CIE | α-opic equivalent daylight (D65) illuminance - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic edi_M-cone_[lx]_prof_CIE | α-opic equivalent daylight (D65) illuminance - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic edi_S-cone_[lx]_prof_CIE | α-opic equivalent daylight (D65) illuminance - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic edi_Rhodopic_[lx]_prof_CIE | α-opic equivalent daylight (D65) illuminance - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic edi_Melanopic_[lx]_prof_CIE | α-opic equivalent daylight (D65) illuminance - Melanopic calculated using CIE S 026 Toolbox and spectrum of the PRx-sp
α-opic edi_L-cone_[lx]_low_LuxPy | α-opic equivalent daylight (D65) illuminance - L-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic edi_M-cone_[lx]_low_LuxPy | α-opic equivalent daylight (D65) illuminance - M-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic edi_S-cone_[lx]_low_LuxPy | α-opic equivalent daylight (D65) illuminance - S-cone-opic calculated using LuxPy and spectrum of the LC1-sp
α-opic edi_Rhodopic_[lx]_low_LuxPy | α-opic equivalent daylight (D65) illuminance - Rhodopic calculated using LuxPy and spectrum of the LC1-sp
α-opic edi_Melanopic_[lx]_low_LuxPy | α-opic equivalent daylight (D65) illuminance - Melanopic calculated using LuxPy and spectrum of the LC1-sp
α-opic edi_L-cone_[lx]_low_CIE | α-opic equivalent daylight (D65) illuminance - L-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic edi_M-cone_[lx]_low_CIE | α-opic equivalent daylight (D65) illuminance - M-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic edi_S-cone_[lx]_low_CIE | α-opic equivalent daylight (D65) illuminance - S-cone-opic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic edi_Rhodopic_[lx]_low_CIE | α-opic equivalent daylight (D65) illuminance - Rhodopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp
α-opic edi_Melanopic_[lx]_low_CIE | α-opic equivalent daylight (D65) illuminance - Melanopic calculated using CIE S 026 Toolbox and spectrum of the LC1-sp

## Data
Configuration ID | CCT_[K]_prof_sw | CCT_[K]_prof_Luxpy | CCT_[K]_low_Luxpy | E_[lx]_prof_sw | E_[lx]_prof_Luxpy | E_[lx]_prof_CIE | E_[lx]_low_Luxpy | CRI_[Ra]_prof_sw | CRI_[Ra]_prof_LuxPy | CRI_[Ra]_low_Luxpy | α-opic irr_L-cone_[W.m-2]_prof_LuxPy | α-opic irr_M-cone_[W.m-2]_prof_LuxPy | α-opic irr_S-cone_[W.m-2]_prof_LuxPy | α-opic irr_Rhodopic_[W.m-2]_prof_LuxPy | α-opic irr_Melanopic_[W.m-2]_prof_LuxPy | α-opic irr_L-cone_[W.m-2]_prof_CIE | α-opic irr_M-cone_[W.m-2]_prof_CIE | α-opic irr_S-cone_[W.m-2]_prof_CIE | α-opic irr_Rhodopic_[W.m-2]_prof_CIE | α-opic irr_Melanopic_[W.m-2]_prof_CIE | α-opic irr_L-cone_[W.m-2]_low_LuxPy | α-opic irr_M-cone_[W.m-2]_low_LuxPy | α-opic irr_S-cone_[W.m-2]_low_LuxPy | α-opic irr_Rhodopic_[W.m-2]_low_LuxPy | α-opic irr_Melanopic_[W.m-2]_low_LuxPy | α-opic irr_L-cone_[W.m-2]_low_CIE | α-opic irr_M-cone_[W.m-2]_low_CIE | α-opic irr_S-cone_[W.m-2]_low_CIE | α-opic irr_Rhodopic_[W.m-2]_low_CIE | α-opic irr_Melanopic_[W.m-2]_low_CIE | α-opic elr_L-cone_[mW.lm-1]_prof_LuxPy | α-opic elr_M-cone_[mW.lm-1]_prof_LuxPy | α-opic elr_S-cone_[mW.lm-1]_prof_LuxPy | α-opic elr_Rhodopic_[mW.lm-1]_prof_LuxPy | α-opic elr_Melanopic_[mW.lm-1]_prof_LuxPy | α-opic elr_L-cone_[mW.lm-1]_prof_CIE | α-opic elr_M-cone_[mW.lm-1]_prof_CIE | α-opic elr_S-cone_[mW.lm-1]_prof_CIE | α-opic elr_Rhodopic_[mW.lm-1]_prof_CIE | α-opic elr_Melanopic_[mW.lm-1]_prof_CIE | α-opic elr_L-cone_[mW.lm-1]_low_LuxPy | α-opic elr_M-cone_[mW.lm-1]_low_LuxPy | α-opic elr_S-cone_[mW.lm-1]_low_LuxPy | α-opic elr_Rhodopic_[mW.lm-1]_low_LuxPy | α-opic elr_Melanopic_[mW.lm-1]_low_LuxPy | α-opic elr_L-cone_[mW.lm-1]_low_CIE | α-opic elr_M-cone_[mW.lm-1]_low_CIE | α-opic elr_S-cone_[mW.lm-1]_low_CIE | α-opic elr_Rhodopic_[mW.lm-1]_low_CIE | α-opic elr_Melanopic_[mW.lm-1]_low_CIE | α-opic edi_L-cone_[lx]_prof_LuxPy | α-opic edi_M-cone_[lx]_prof_LuxPy | α-opic edi_S-cone_[lx]_prof_LuxPy | α-opic edi_Rhodopic_[lx]_prof_LuxPy | α-opic edi_Melanopic_[lx]_prof_LuxPy | α-opic edi_L-cone_[lx]_prof_CIE | α-opic edi_M-cone_[lx]_prof_CIE | α-opic edi_S-cone_[lx]_prof_CIE | α-opic edi_Rhodopic_[lx]_prof_CIE | α-opic edi_Melanopic_[lx]_prof_CIE | α-opic edi_L-cone_[lx]_low_LuxPy | α-opic edi_M-cone_[lx]_low_LuxPy | α-opic edi_S-cone_[lx]_low_LuxPy | α-opic edi_Rhodopic_[lx]_low_LuxPy | α-opic edi_Melanopic_[lx]_low_LuxPy | α-opic edi_L-cone_[lx]_low_CIE | α-opic edi_M-cone_[lx]_low_CIE | α-opic edi_S-cone_[lx]_low_CIE | α-opic edi_Rhodopic_[lx]_low_CIE | α-opic edi_Melanopic_[lx]_low_CIE
SENS_i-lab_F1_CL100_D | 6832 | 6829.7512 | 6875.162 | 22.1 | 22.1125 | 22.1 | 26.204 | 83.5 | 84.1745 | 83.8558 | 0.035275 | 0.031866 | 0.018087 | 0.029511 | 0.025768 | 0.035259 | 0.031832 | 0.017967 | 0.029452 | 0.025768 | 0.04177 | 0.037981 | 0.021058 | 0.035115 | 0.030816 | 0.041751 | 0.03794 | 0.020918 | 0.035045 | 0.030816 | 1.5953 | 1.4411 | 0.81797 | 1.3346 | 1.1653 | 1.5945 | 1.4395 | 0.81253 | 1.3319 | 1.1653 | 1.594 | 1.4494 | 0.80361 | 1.34 | 1.176 | 1.5933 | 1.4479 | 0.79825 | 1.3374 | 1.176 | 0.97813 | 0.99451 | 0.97642 | 0.92246 | 0.88671 | 0.97813 | 0.99453 | 0.97671 | 0.92251 | 0.88673 | 0.97889 | 0.9888 | 0.99388 | 0.91868 | 0.87859 | 0.97889 | 0.98882 | 0.99417 | 0.91876 | 0.87868
SENS_i-lab_F2_CL100_D | 6807 | 6805.1073 | 6918.8127 | 22.2 | 22.1816 | 22.2 | 26.0366 | 83.5 | 84.2416 | 84.7635 | 0.035385 | 0.031954 | 0.018062 | 0.029576 | 0.02581 | 0.035369 | 0.031919 | 0.017942 | 0.029517 | 0.02581 | 0.041484 | 0.037716 | 0.021137 | 0.035052 | 0.030703 | 0.041465 | 0.037676 | 0.020996 | 0.034982 | 0.030703 | 1.5952 | 1.4405 | 0.81428 | 1.3334 | 1.1636 | 1.5945 | 1.439 | 0.80886 | 1.3307 | 1.1636 | 1.5933 | 1.4486 | 0.81182 | 1.3463 | 1.1792 | 1.5926 | 1.447 | 0.8064 | 1.3436 | 1.1792 | 0.97769 | 0.99394 | 0.98639 | 0.92674 | 0.88914 | 0.97769 | 0.99396 | 0.98668 | 0.92679 | 0.88917 | 0.97889 | 0.98842 | 0.9894 | 0.91782 | 0.87729 | 0.97889 | 0.98844 | 0.98969 | 0.9179 | 0.87738
SENS_i-lab_F3_CL100_D | 6811 | 6808.7647 | 6797.8923 | 22.2 | 22.2292 | 22.2 | 26.4794 | 83.8 | 84.3763 | 84.6862 | 0.035474 | 0.032024 | 0.018147 | 0.029677 | 0.025924 | 0.035458 | 0.03199 | 0.018026 | 0.029617 | 0.025924 | 0.042218 | 0.038262 | 0.021042 | 0.035426 | 0.03107 | 0.042199 | 0.038221 | 0.020902 | 0.035355 | 0.03107 | 1.5958 | 1.4406 | 0.81637 | 1.335 | 1.1662 | 1.5951 | 1.4391 | 0.81093 | 1.3324 | 1.1662 | 1.5944 | 1.445 | 0.79467 | 1.3379 | 1.1734 | 1.5936 | 1.4434 | 0.78938 | 1.3352 | 1.1733 | 0.97834 | 0.99146 | 0.96556 | 0.92096 | 0.88471 | 0.97834 | 0.99148 | 0.96585 | 0.92101 | 0.88473 | 0.97925 | 0.98847 | 0.99193 | 0.91897 | 0.87926 | 0.97925 | 0.9885 | 0.99222 | 0.91905 | 0.87935
SENS_i-lab_L1_WL100_D | 2792 | 2792.1534 | 2971.733 | 17.4 | 17.4439 | 17.44 | 21.7057 | 95 | 93.3983 | 94.6831 | 0.028824 | 0.020123 | 0.004143 | 0.013408 | 0.010135 | 0.028811 | 0.020101 | 0.0041154 | 0.013381 | 0.010135 | 0.035799 | 0.025668 | 0.006088 | 0.018077 | 0.01406 | 0.035783 | 0.025641 | 0.0060474 | 0.018041 | 0.01406 | 1.6524 | 1.1536 | 0.2375 | 0.76865 | 0.58098 | 1.6516 | 1.1523 | 0.23592 | 0.76711 | 0.58098 | 1.6493 | 1.1826 | 0.28048 | 0.83282 | 0.64774 | 1.6485 | 1.1813 | 0.2786 | 0.83114 | 0.64772 | 1.0139 | 0.79151 | 0.28858 | 0.5291 | 0.43803 | 1.0139 | 0.79153 | 0.28866 | 0.52915 | 0.43808 | 1.012 | 0.8114 | 0.34079 | 0.5733 | 0.48839 | 1.012 | 0.81141 | 0.34089 | 0.57332 | 0.4884
SENS_i-lab_L2_WL100_D | 2808 | 2807.8369 | 2979.3296 | 17.2 | 17.1996 | 17.2 | 21.7231 | 95.3 | 93.2988 | 94.0255 | 0.02844 | 0.019894 | 0.0043652 | 0.013407 | 0.010235 | 0.028427 | 0.019873 | 0.0043361 | 0.01338 | 0.010235 | 0.03583 | 0.02571 | 0.0060218 | 0.018019 | 0.014081 | 0.035815 | 0.025683 | 0.0059817 | 0.017983 | 0.014081 | 1.6535 | 1.1567 | 0.2538 | 0.7795 | 0.59505 | 1.6528 | 1.1554 | 0.25211 | 0.77795 | 0.59505 | 1.6494 | 1.1835 | 0.27721 | 0.8295 | 0.64819 | 1.6487 | 1.1822 | 0.27535 | 0.82782 | 0.64818 | 1.0147 | 0.79363 | 0.30838 | 0.53658 | 0.44864 | 1.0147 | 0.79365 | 0.30847 | 0.53663 | 0.44868 | 1.0121 | 0.81207 | 0.33682 | 0.57101 | 0.48874 | 1.0121 | 0.81208 | 0.33691 | 0.57103 | 0.48875
SENS_i-lab_L3_WL100_D | 2808 | 2808.2751 | 2885.7748 | 17 | 16.963 | 16.96 | 21.1393 | 95.4 | 93.3276 | 94.2728 | 0.028058 | 0.019628 | 0.0043554 | 0.013262 | 0.010151 | 0.028045 | 0.019607 | 0.0043264 | 0.013236 | 0.010151 | 0.034958 | 0.024766 | 0.0055768 | 0.017054 | 0.01327 | 0.034943 | 0.02474 | 0.0055397 | 0.01702 | 0.01327 | 1.6541 | 1.1571 | 0.25676 | 0.78184 | 0.59842 | 1.6533 | 1.1558 | 0.25505 | 0.78028 | 0.59842 | 1.6537 | 1.1716 | 0.26381 | 0.80674 | 0.62772 | 1.6529 | 1.1703 | 0.26205 | 0.80511 | 0.62771 | 1.015 | 0.79392 | 0.31198 | 0.53818 | 0.45118 | 1.015 | 0.79394 | 0.31207 | 0.53823 | 0.45123 | 1.0147 | 0.80387 | 0.32054 | 0.55534 | 0.4733 | 1.0147 | 0.80387 | 0.32063 | 0.55536 | 0.47331
SENS_i-lab_I1_WL100_D | 2970 | 2970.4849 | 3071.325 | 38.3 | 38.3428 | 38.34 | 49.3672 | 96 | 97.3558 | 97.7031 | 0.063552 | 0.045875 | 0.011304 | 0.034106 | 0.027572 | 0.063523 | 0.045826 | 0.011228 | 0.034037 | 0.027572 | 0.08153 | 0.059533 | 0.014975 | 0.04436 | 0.035733 | 0.081493 | 0.05947 | 0.014876 | 0.044271 | 0.035733 | 1.6575 | 1.1964 | 0.2948 | 0.88949 | 0.7191 | 1.6567 | 1.1952 | 0.29284 | 0.88771 | 0.7191 | 1.6515 | 1.2059 | 0.30334 | 0.89857 | 0.72383 | 1.6507 | 1.2046 | 0.30132 | 0.89678 | 0.72383 | 1.0171 | 0.82093 | 0.3582 | 0.61228 | 0.54216 | 1.0171 | 0.82095 | 0.3583 | 0.61234 | 0.54222 | 1.0134 | 0.82744 | 0.36858 | 0.61856 | 0.54576 | 1.0134 | 0.82746 | 0.36869 | 0.61859 | 0.54579
SENS_i-lab_I2_WL100_D | 2968 | 2967.787 | 3052.5224 | 38.3 | 38.282 | 38.38 | 48.7817 | 95.9 | 97.3154 | 97.3038 | 0.063459 | 0.045792 | 0.01129 | 0.034054 | 0.027538 | 0.06343 | 0.045743 | 0.011214 | 0.033986 | 0.027538 | 0.080555 | 0.058783 | 0.013881 | 0.043541 | 0.035015 | 0.080518 | 0.05872 | 0.013788 | 0.043454 | 0.035015 | 1.6577 | 1.1962 | 0.29491 | 0.88956 | 0.71933 | 1.6569 | 1.1949 | 0.29294 | 0.88778 | 0.71934 | 1.6513 | 1.205 | 0.28455 | 0.89257 | 0.71779 | 1.6506 | 1.2037 | 0.28266 | 0.89079 | 0.71779 | 1.0172 | 0.82075 | 0.35833 | 0.61233 | 0.54234 | 1.0172 | 0.82077 | 0.35843 | 0.61239 | 0.5424 | 1.0133 | 0.82681 | 0.34574 | 0.61443 | 0.54121 | 1.0133 | 0.82683 | 0.34585 | 0.61446 | 0.54123
SENS_i-lab_I3_WL100_D | 2965 | 2964.6044 | 3064.0617 | 38.1 | 38.097 | 38.1 | 49.3102 | 95.9 | 97.3453 | 97.6173 | 0.063158 | 0.045553 | 0.011235 | 0.033857 | 0.027376 | 0.063129 | 0.045504 | 0.01116 | 0.033789 | 0.027376 | 0.081457 | 0.059545 | 0.014254 | 0.044326 | 0.03575 | 0.081419 | 0.059482 | 0.014159 | 0.044237 | 0.03575 | 1.6578 | 1.1957 | 0.2949 | 0.88869 | 0.71858 | 1.6571 | 1.1944 | 0.29293 | 0.88692 | 0.71858 | 1.6519 | 1.2076 | 0.28907 | 0.89891 | 0.72499 | 1.6512 | 1.2063 | 0.28715 | 0.89712 | 0.72499 | 1.0173 | 0.82043 | 0.35831 | 0.61173 | 0.54178 | 1.0173 | 0.82045 | 0.35842 | 0.61179 | 0.54183 | 1.0137 | 0.82856 | 0.35123 | 0.61879 | 0.54664 | 1.0137 | 0.82858 | 0.35134 | 0.61883 | 0.54666
SENS_i-lab_L1_WL100_C | 2872 | 2872.3292 | 2990.5038 | 39 | 38.9913 | 38.99 | 48.3855 | 83.4 | 85.1444 | 86.431 | 0.064309 | 0.04511 | 0.010112 | 0.029035 | 0.021857 | 0.064279 | 0.045062 | 0.010045 | 0.028977 | 0.021857 | 0.079611 | 0.056898 | 0.012677 | 0.037527 | 0.028616 | 0.079574 | 0.056837 | 0.012593 | 0.037452 | 0.028616 | 1.6493 | 1.1569 | 0.25934 | 0.74466 | 0.56056 | 1.6486 | 1.1557 | 0.25762 | 0.74317 | 0.56056 | 1.6453 | 1.1759 | 0.26201 | 0.77559 | 0.59141 | 1.6446 | 1.1747 | 0.26026 | 0.77404 | 0.59141 | 1.0121 | 0.79382 | 0.31512 | 0.51259 | 0.42263 | 1.0121 | 0.79383 | 0.31521 | 0.51263 | 0.42267 | 1.0096 | 0.80685 | 0.31835 | 0.5339 | 0.44592 | 1.0096 | 0.80687 | 0.31845 | 0.53393 | 0.44594
SENS_i-lab_L2_WL100_C | 2883 | 2883.3979 | 3014.2397 | 38.7 | 38.6946 | 38.69 | 49.1753 | 83.7 | 85.1771 | 86.164 | 0.063831 | 0.044836 | 0.010349 | 0.029036 | 0.021949 | 0.063801 | 0.044788 | 0.01028 | 0.028978 | 0.021949 | 0.08093 | 0.057938 | 0.013824 | 0.0386 | 0.029668 | 0.080893 | 0.057876 | 0.013732 | 0.038523 | 0.029668 | 1.6496 | 1.1587 | 0.26745 | 0.75038 | 0.56724 | 1.6488 | 1.1575 | 0.26567 | 0.74888 | 0.56725 | 1.6457 | 1.1782 | 0.28112 | 0.78495 | 0.60331 | 1.645 | 1.1769 | 0.27925 | 0.78338 | 0.60331 | 1.0122 | 0.79505 | 0.32497 | 0.51653 | 0.42767 | 1.0122 | 0.79507 | 0.32507 | 0.51657 | 0.42772 | 1.0099 | 0.8084 | 0.34158 | 0.54034 | 0.45489 | 1.0099 | 0.80842 | 0.34168 | 0.54037 | 0.45491
SENS_i-lab_L3_WL100_C | 2888 | 2888.0028 | 3011.7457 | 38.7 | 38.6834 | 38.68 | 47.546 | 83.7 | 85.1556 | 87.0738 | 0.063813 | 0.044851 | 0.010447 | 0.029091 | 0.022019 | 0.063784 | 0.044803 | 0.010377 | 0.029033 | 0.022019 | 0.078191 | 0.056059 | 0.012564 | 0.037283 | 0.02848 | 0.078155 | 0.055999 | 0.01248 | 0.037208 | 0.02848 | 1.6496 | 1.1594 | 0.27006 | 0.75203 | 0.56921 | 1.6489 | 1.1582 | 0.26826 | 0.75053 | 0.56921 | 1.6445 | 1.179 | 0.26425 | 0.78414 | 0.599 | 1.6438 | 1.1778 | 0.26249 | 0.78257 | 0.599 | 1.0123 | 0.79554 | 0.32814 | 0.51767 | 0.42915 | 1.0123 | 0.79556 | 0.32823 | 0.51771 | 0.4292 | 1.0091 | 0.80899 | 0.32107 | 0.53979 | 0.45165 | 1.0091 | 0.80901 | 0.32117 | 0.53982 | 0.45166
SENS_i-lab_L1_WL50_C | 2866 | 2865.757 | 2994.5145 | 19.5 | 19.4615 | 19.46 | 24.8897 | 83.4 | 85.09 | 86.8447 | 0.032093 | 0.02249 | 0.004985 | 0.014424 | 0.010824 | 0.032078 | 0.022466 | 0.0049517 | 0.014396 | 0.010824 | 0.040952 | 0.029287 | 0.0065254 | 0.019382 | 0.014786 | 0.040934 | 0.029255 | 0.0064819 | 0.019343 | 0.014786 | 1.6491 | 1.1556 | 0.25614 | 0.74117 | 0.55615 | 1.6483 | 1.1544 | 0.25444 | 0.73969 | 0.55615 | 1.6454 | 1.1767 | 0.26217 | 0.77871 | 0.59404 | 1.6446 | 1.1754 | 0.26042 | 0.77715 | 0.59404 | 1.0119 | 0.79291 | 0.31123 | 0.51019 | 0.41931 | 1.0119 | 0.79293 | 0.31132 | 0.51024 | 0.41935 | 1.0096 | 0.80735 | 0.31855 | 0.53605 | 0.44791 | 1.0096 | 0.80737 | 0.31864 | 0.53608 | 0.44792
SENS_i-lab_L2_WL50_C | 2874 | 2873.4798 | 3013.4738 | 19.1 | 19.1274 | 19.13 | 24.1966 | 83.5 | 85.1701 | 85.8614 | 0.03154 | 0.022128 | 0.0049368 | 0.01423 | 0.010693 | 0.031526 | 0.022104 | 0.0049039 | 0.014201 | 0.010693 | 0.039772 | 0.028484 | 0.0065897 | 0.018808 | 0.014325 | 0.039754 | 0.028453 | 0.0065458 | 0.018771 | 0.014325 | 1.6489 | 1.1569 | 0.2581 | 0.74394 | 0.55906 | 1.6482 | 1.1556 | 0.25638 | 0.74245 | 0.55907 | 1.6437 | 1.1772 | 0.27234 | 0.7773 | 0.59204 | 1.643 | 1.1759 | 0.27053 | 0.77575 | 0.59204 | 1.0118 | 0.79378 | 0.31361 | 0.51209 | 0.42151 | 1.0118 | 0.7938 | 0.3137 | 0.51214 | 0.42155 | 1.0086 | 0.80771 | 0.33091 | 0.53508 | 0.4464 | 1.0086 | 0.80773 | 0.331 | 0.53511 | 0.44641
SENS_i-lab_L3_WL50_C | 2875 | 2875.1399 | 3041.4737 | 19.1 | 19.1258 | 19.13 | 23.1055 | 83.6 | 85.1813 | 86.5009 | 0.031539 | 0.022132 | 0.004975 | 0.014251 | 0.010719 | 0.031525 | 0.022108 | 0.0049418 | 0.014223 | 0.010719 | 0.037967 | 0.027299 | 0.0064725 | 0.01819 | 0.013924 | 0.037949 | 0.027269 | 0.0064293 | 0.018153 | 0.013924 | 1.649 | 1.1572 | 0.26012 | 0.74514 | 0.56044 | 1.6483 | 1.1559 | 0.25839 | 0.74365 | 0.56044 | 1.6432 | 1.1815 | 0.28013 | 0.78725 | 0.60264 | 1.6424 | 1.1802 | 0.27826 | 0.78568 | 0.60264 | 1.0119 | 0.79398 | 0.31606 | 0.51292 | 0.42255 | 1.0119 | 0.794 | 0.31615 | 0.51297 | 0.42259 | 1.0083 | 0.81066 | 0.34037 | 0.54193 | 0.45439 | 1.0083 | 0.81068 | 0.34047 | 0.54196 | 0.45441
SENS_i-lab_L1_NL100_C | 4025 | 4024.4595 | 4174.3852 | 38.5 | 38.4955 | 38.5 | 47.0356 | 85.7 | 85.7064 | 86.1828 | 0.0627 | 0.049384 | 0.019168 | 0.0389 | 0.032351 | 0.062671 | 0.049331 | 0.019041 | 0.038822 | 0.032351 | 0.076441 | 0.061106 | 0.023242 | 0.048733 | 0.040736 | 0.076406 | 0.061041 | 0.023087 | 0.048636 | 0.040736 | 1.6288 | 1.2828 | 0.49794 | 1.0105 | 0.84039 | 1.628 | 1.2815 | 0.49462 | 1.0085 | 0.84039 | 1.6252 | 1.2991 | 0.49413 | 1.0361 | 0.86608 | 1.6244 | 1.2978 | 0.49084 | 1.034 | 0.86608 | 0.99945 | 0.88022 | 0.60502 | 0.69558 | 0.63361 | 0.99945 | 0.88023 | 0.6052 | 0.69565 | 0.63368 | 0.99725 | 0.8914 | 0.6004 | 0.71323 | 0.65302 | 0.99725 | 0.89142 | 0.60058 | 0.71327 | 0.65304
SENS_i-lab_L2_NL100_C | 4037 | 4037.0822 | 4180.4047 | 37.8 | 37.8215 | 37.82 | 46.0028 | 85.8 | 85.7635 | 85.5487 | 0.061606 | 0.048567 | 0.018942 | 0.03835 | 0.031933 | 0.061578 | 0.048515 | 0.018815 | 0.038274 | 0.031933 | 0.074783 | 0.059756 | 0.022959 | 0.047619 | 0.039928 | 0.074748 | 0.059692 | 0.022806 | 0.047524 | 0.039928 | 1.6289 | 1.2841 | 0.50081 | 1.014 | 0.84431 | 1.6281 | 1.2827 | 0.49748 | 1.012 | 0.84431 | 1.6256 | 1.299 | 0.49907 | 1.0351 | 0.86795 | 1.6249 | 1.2976 | 0.49574 | 1.0331 | 0.86795 | 0.99952 | 0.88108 | 0.60852 | 0.69798 | 0.63657 | 0.99952 | 0.8811 | 0.60869 | 0.69804 | 0.63663 | 0.99752 | 0.89127 | 0.60639 | 0.71257 | 0.65443 | 0.99752 | 0.89129 | 0.60657 | 0.71261 | 0.65446
SENS_i-lab_L3_NL100_C | 4024 | 4023.7918 | 4190.7625 | 38.2 | 38.2356 | 38.24 | 46.2293 | 85.7 | 85.7114 | 85.0699 | 0.062282 | 0.049059 | 0.019015 | 0.038671 | 0.032178 | 0.062254 | 0.049007 | 0.018888 | 0.038594 | 0.032178 | 0.075139 | 0.059976 | 0.023596 | 0.047707 | 0.039949 | 0.075104 | 0.059912 | 0.023439 | 0.047612 | 0.039949 | 1.6289 | 1.2831 | 0.4973 | 1.0114 | 0.84158 | 1.6282 | 1.2817 | 0.49399 | 1.0094 | 0.84158 | 1.6253 | 1.2974 | 0.51041 | 1.032 | 0.86415 | 1.6246 | 1.296 | 0.50701 | 1.0299 | 0.86415 | 0.99954 | 0.88038 | 0.60425 | 0.69619 | 0.63451 | 0.99954 | 0.8804 | 0.60443 | 0.69625 | 0.63457 | 0.99735 | 0.89017 | 0.62017 | 0.71038 | 0.65157 | 0.99735 | 0.89019 | 0.62036 | 0.71042 | 0.65159
SENS_i-lab_L1_NL50_C | 3997 | 3996.6944 | 4222.6326 | 19.5 | 19.4998 | 19.5 | 23.225 | 85.4 | 85.4743 | 85.9164 | 0.031747 | 0.024968 | 0.0094984 | 0.019552 | 0.0162 | 0.031732 | 0.024941 | 0.0094351 | 0.019513 | 0.0162 | 0.037722 | 0.030217 | 0.011797 | 0.024205 | 0.020257 | 0.037704 | 0.030184 | 0.011719 | 0.024156 | 0.020257 | 1.6281 | 1.2804 | 0.4871 | 1.0027 | 0.8308 | 1.6273 | 1.279 | 0.48386 | 1.0007 | 0.8308 | 1.6242 | 1.301 | 0.50796 | 1.0422 | 0.87221 | 1.6234 | 1.2996 | 0.50458 | 1.0401 | 0.87221 | 0.99902 | 0.87854 | 0.59185 | 0.69019 | 0.62638 | 0.99902 | 0.87856 | 0.59203 | 0.69025 | 0.62644 | 0.99664 | 0.8927 | 0.6172 | 0.71741 | 0.65765 | 0.99664 | 0.89272 | 0.61738 | 0.71745 | 0.65767
SENS_i-lab_L2_NL50_C | 4041 | 4033.3413 | 4177.4971 | 19.3 | 19.1156 | 19.12 | 22.9397 | 85.7 | 85.7741 | 87.1566 | 0.031129 | 0.024533 | 0.0095509 | 0.019333 | 0.016073 | 0.031115 | 0.024507 | 0.0094873 | 0.019295 | 0.016073 | 0.03682 | 0.029292 | 0.011121 | 0.02326 | 0.019413 | 0.036804 | 0.02926 | 0.011047 | 0.023214 | 0.019413 | 1.6285 | 1.2834 | 0.49964 | 1.0114 | 0.84082 | 1.6277 | 1.282 | 0.49631 | 1.0094 | 0.84082 | 1.6264 | 1.2938 | 0.49123 | 1.0274 | 0.85748 | 1.6256 | 1.2925 | 0.48796 | 1.0254 | 0.85748 | 0.99928 | 0.88061 | 0.60709 | 0.6962 | 0.63393 | 0.99928 | 0.88063 | 0.60727 | 0.69626 | 0.634 | 0.998 | 0.88776 | 0.59686 | 0.70726 | 0.64654 | 0.998 | 0.88779 | 0.59704 | 0.7073 | 0.64656
SENS_i-lab_L3_NL50_C | 4033 | 4040.495 | 4118.2169 | 19.1 | 19.2825 | 19.28 | 22.6393 | 85.7 | 85.7318 | 86.1413 | 0.0314 | 0.024757 | 0.009667 | 0.019524 | 0.016238 | 0.031386 | 0.024731 | 0.0096026 | 0.019485 | 0.016238 | 0.037298 | 0.029828 | 0.01143 | 0.023926 | 0.020047 | 0.037281 | 0.029796 | 0.011353 | 0.023878 | 0.020047 | 1.6284 | 1.2839 | 0.50133 | 1.0125 | 0.84213 | 1.6277 | 1.2825 | 0.498 | 1.0105 | 0.84213 | 1.6259 | 1.3003 | 0.49824 | 1.043 | 0.87391 | 1.6252 | 1.2989 | 0.49493 | 1.0409 | 0.87391 | 0.99924 | 0.88095 | 0.60915 | 0.69699 | 0.63493 | 0.99924 | 0.88097 | 0.60933 | 0.69706 | 0.63499 | 0.99772 | 0.89218 | 0.60539 | 0.71798 | 0.65892 | 0.99772 | 0.8922 | 0.60557 | 0.71802 | 0.65895
SENS_i-lab_L1_CL100_C | 5727 | 5726.6555 | 5931.5776 | 41.6 | 41.6246 | 41.62 | 50.4625 | 83.2 | 83.894 | 83.6516 | 0.067074 | 0.058008 | 0.029568 | 0.051856 | 0.045356 | 0.067043 | 0.057945 | 0.029371 | 0.051752 | 0.045356 | 0.081118 | 0.071088 | 0.035898 | 0.063929 | 0.056139 | 0.081081 | 0.071012 | 0.035659 | 0.063801 | 0.056139 | 1.6114 | 1.3936 | 0.71035 | 1.2458 | 1.0897 | 1.6107 | 1.3921 | 0.70562 | 1.2433 | 1.0897 | 1.6075 | 1.4087 | 0.71138 | 1.2669 | 1.1125 | 1.6068 | 1.4072 | 0.70664 | 1.2643 | 1.1125 | 0.9888 | 0.9562 | 0.86312 | 0.85755 | 0.82155 | 0.9888 | 0.95623 | 0.86337 | 0.85762 | 0.82163 | 0.9864 | 0.96658 | 0.86436 | 0.87208 | 0.83881 | 0.9864 | 0.96661 | 0.86462 | 0.87213 | 0.83884
SENS_i-lab_L2_CL100_C | 5737 | 5735.8458 | 5842.4265 | 41.6 | 41.6446 | 41.64 | 48.4001 | 83.3 | 83.8987 | 84.2242 | 0.067103 | 0.058054 | 0.02962 | 0.051928 | 0.045429 | 0.067072 | 0.057992 | 0.029423 | 0.051824 | 0.045428 | 0.077901 | 0.067996 | 0.034134 | 0.061172 | 0.053748 | 0.077865 | 0.067923 | 0.033907 | 0.061049 | 0.053748 | 1.6113 | 1.394 | 0.71125 | 1.2469 | 1.0909 | 1.6106 | 1.3926 | 0.70652 | 1.2444 | 1.0909 | 1.6095 | 1.4049 | 0.70525 | 1.2639 | 1.1105 | 1.6088 | 1.4034 | 0.70055 | 1.2613 | 1.1105 | 0.98875 | 0.95652 | 0.86421 | 0.85833 | 0.82246 | 0.98875 | 0.95654 | 0.86446 | 0.85841 | 0.82254 | 0.98764 | 0.96394 | 0.85691 | 0.87002 | 0.8373 | 0.98764 | 0.96396 | 0.85717 | 0.87007 | 0.83734
SENS_i-lab_L3_CL100_C | 5738 | 5737.3987 | 5906.6996 | 41.5 | 41.5153 | 41.52 | 49.177 | 83.2 | 83.8939 | 83.2451 | 0.066893 | 0.057887 | 0.029507 | 0.051791 | 0.045316 | 0.066862 | 0.057825 | 0.02931 | 0.051687 | 0.045315 | 0.079159 | 0.069229 | 0.035106 | 0.062278 | 0.054796 | 0.079123 | 0.069155 | 0.034872 | 0.062153 | 0.054796 | 1.6113 | 1.3944 | 0.71074 | 1.2475 | 1.0915 | 1.6106 | 1.3929 | 0.706 | 1.245 | 1.0915 | 1.6097 | 1.4077 | 0.71386 | 1.2664 | 1.1143 | 1.6089 | 1.4062 | 0.70911 | 1.2639 | 1.1143 | 0.98873 | 0.95673 | 0.86358 | 0.85873 | 0.82296 | 0.98873 | 0.95675 | 0.86384 | 0.85881 | 0.82305 | 0.98774 | 0.96591 | 0.86738 | 0.87176 | 0.84015 | 0.98774 | 0.96594 | 0.86763 | 0.87181 | 0.84018
SENS_i-lab_L1_CL50_C | 5700 | 5699.5271 | 5779.3398 | 20.8 | 20.7755 | 20.78 | 25.6822 | 82.9 | 83.741 | 84.3152 | 0.033458 | 0.028929 | 0.014604 | 0.025772 | 0.02248 | 0.033442 | 0.028898 | 0.014506 | 0.02572 | 0.02248 | 0.041283 | 0.036025 | 0.017655 | 0.032184 | 0.028096 | 0.041264 | 0.035987 | 0.017538 | 0.032119 | 0.028096 | 1.6104 | 1.3924 | 0.70293 | 1.2405 | 1.082 | 1.6097 | 1.3909 | 0.69824 | 1.238 | 1.082 | 1.6075 | 1.4027 | 0.68745 | 1.2531 | 1.094 | 1.6067 | 1.4012 | 0.68287 | 1.2506 | 1.094 | 0.9882 | 0.95541 | 0.85409 | 0.8539 | 0.8158 | 0.9882 | 0.95543 | 0.85434 | 0.85397 | 0.81588 | 0.98639 | 0.96247 | 0.83528 | 0.86264 | 0.82487 | 0.98638 | 0.9625 | 0.83553 | 0.86269 | 0.8249
SENS_i-lab_L2_CL50_C | 5693 | 5692.6716 | 5873.0541 | 21.1 | 21.0668 | 21.07 | 25.1659 | 82.9 | 83.7282 | 83.7003 | 0.033924 | 0.029323 | 0.014792 | 0.026098 | 0.022752 | 0.033908 | 0.029291 | 0.014693 | 0.026046 | 0.022752 | 0.04039 | 0.035376 | 0.017557 | 0.031609 | 0.027614 | 0.040372 | 0.035338 | 0.01744 | 0.031546 | 0.027614 | 1.6103 | 1.3919 | 0.70212 | 1.2388 | 1.08 | 1.6096 | 1.3904 | 0.69745 | 1.2363 | 1.08 | 1.605 | 1.4057 | 0.69763 | 1.256 | 1.0973 | 1.6042 | 1.4042 | 0.69299 | 1.2535 | 1.0973 | 0.98812 | 0.95504 | 0.85312 | 0.85274 | 0.81427 | 0.98812 | 0.95506 | 0.85337 | 0.85282 | 0.81435 | 0.98485 | 0.96451 | 0.84766 | 0.86462 | 0.82735 | 0.98485 | 0.96453 | 0.84791 | 0.86467 | 0.82738
SENS_i-lab_L3_CL50_C | 5685 | 5683.9721 | 5743.1282 | 21.2 | 21.1938 | 21.19 | 25.4623 | 82.8 | 83.7116 | 83.4535 | 0.034126 | 0.029492 | 0.01484 | 0.026229 | 0.022858 | 0.03411 | 0.029461 | 0.014741 | 0.026177 | 0.022858 | 0.04095 | 0.035692 | 0.017388 | 0.03174 | 0.027757 | 0.040931 | 0.035653 | 0.017272 | 0.031676 | 0.027757 | 1.6102 | 1.3916 | 0.70022 | 1.2376 | 1.0785 | 1.6094 | 1.3901 | 0.69556 | 1.2351 | 1.0785 | 1.6082 | 1.4017 | 0.68287 | 1.2465 | 1.0901 | 1.6075 | 1.4002 | 0.67833 | 1.244 | 1.0901 | 0.98805 | 0.95481 | 0.8508 | 0.8519 | 0.81315 | 0.98805 | 0.95483 | 0.85105 | 0.85198 | 0.81323 | 0.98686 | 0.9618 | 0.82972 | 0.85809 | 0.82194 | 0.98686 | 0.96182 | 0.82997 | 0.85814 | 0.82197
ZEB_lab_D_CL_100_W | 5888 | 5888.1787 | 5794.2205 | 168 | 168.4349 | 168.4347 | 170.7578 | 97.1 | 96.7034 | 94.7022 | 0.27467 | 0.24053 | 0.12639 | 0.23227 | 0.21064 | 0.27455 | 0.24027 | 0.12555 | 0.2318 | 0.21064 | 0.27615 | 0.24486 | 0.11364 | 0.23079 | 0.20552 | 0.27389 | 0.24402 | 0.11739 | 0.23202 | 0.20766 | 1.6172 | 1.434 | 0.66549 | 1.3516 | 1.2036 | 1.6161 | 1.4398 | 0.69264 | 1.369 | 1.2253 | 1.6307 | 1.428 | 0.75036 | 1.379 | 1.2506 | 1.63 | 1.4265 | 0.74536 | 1.3762 | 1.2506 | 168.548 | 165.0355 | 153.5673 | 159.8835 | 158.8098 | 168.5469 | 165.0387 | 153.6118 | 159.898 | 158.8256 | 169.4554 | 168.0096 | 138.0762 | 158.8722 | 154.9593 | 168.1447 | 167.6163 | 143.6334 | 160.0481 | 156.5795
ZEB_lab_I_WL_100_S | 2754 | 2757.8648 | 2868.2704 | 114 | 113.9016 | 113.9016 | 155.1392 | 98.2 | 98.0697 | 98.2951 | 0.18962 | 0.13229 | 0.031026 | 0.093257 | 0.074365 | 0.18953 | 0.13215 | 0.030819 | 0.093071 | 0.074365 | 0.25704 | 0.18267 | 0.038235 | 0.12908 | 0.10191 | 0.25692 | 0.18248 | 0.03798 | 0.12882 | 0.10191 | 1.6569 | 1.1775 | 0.24646 | 0.83203 | 0.6569 | 1.6561 | 1.1762 | 0.24481 | 0.83037 | 0.6569 | 1.6648 | 1.1614 | 0.27239 | 0.81875 | 0.65289 | 1.664 | 1.1602 | 0.27058 | 0.81712 | 0.65289 | 116.3566 | 90.7689 | 37.6983 | 64.1941 | 56.0678 | 116.3558 | 90.7707 | 37.7093 | 64.1999 | 56.0734 | 157.7287 | 125.3404 | 46.4573 | 88.8569 | 76.8403 | 157.728 | 125.3435 | 46.471 | 88.8616 | 76.843
ZEB_lab_F_WL_100_S | 2574 | 2583.6712 | 2960.6091 | 48 | 48.3604 | 48.3604 | 58.7233 | 83.3 | 83.2346 | 78.353 | 0.080294 | 0.053496 | 0.012228 | 0.031842 | 0.022353 | 0.080257 | 0.053439 | 0.012146 | 0.031778 | 0.022353 | 0.089736 | 0.063555 | 0.013058 | 0.038689 | 0.02724 | 0.089694 | 0.063487 | 0.012971 | 0.038612 | 0.02724 | 1.6328 | 1.1564 | 0.2376 | 0.70398 | 0.49566 | 1.6321 | 1.1552 | 0.23602 | 0.70257 | 0.49566 | 1.6603 | 1.1062 | 0.25285 | 0.65842 | 0.46222 | 1.6596 | 1.105 | 0.25116 | 0.65711 | 0.46222 | 49.2709 | 36.7059 | 14.8574 | 21.9184 | 16.8533 | 49.2706 | 36.7068 | 14.8618 | 21.9204 | 16.8549 | 55.0643 | 43.6078 | 15.8662 | 26.6329 | 20.5392 | 55.0641 | 43.6089 | 15.8708 | 26.6343 | 20.5399
ZEB_lab_L_CL_100_S | 6330 | 6230.9917 | 6069.509 | 62 | 62.4515 | 62.4515 | 74.366 | 83 | 83.0836 | 83.8311 | 0.10067 | 0.087634 | 0.051142 | 0.079353 | 0.069456 | 0.10063 | 0.08754 | 0.050801 | 0.079195 | 0.069456 | 0.11905 | 0.10527 | 0.053282 | 0.094003 | 0.081298 | 0.11899 | 0.10516 | 0.052927 | 0.093816 | 0.081299 | 1.6008 | 1.4156 | 0.71648 | 1.2641 | 1.0932 | 1.6001 | 1.4141 | 0.71171 | 1.2615 | 1.0932 | 1.612 | 1.4032 | 0.81891 | 1.2706 | 1.1122 | 1.6113 | 1.4017 | 0.81346 | 1.2681 | 1.1122 | 61.7757 | 60.1297 | 62.1405 | 54.6232 | 52.3665 | 61.7753 | 60.1309 | 62.1585 | 54.6282 | 52.3717 | 73.0508 | 72.2309 | 64.7404 | 64.7099 | 61.2989 | 73.0512 | 72.2327 | 64.7595 | 64.7137 | 61.3016
ZEB_lab_H_WL_100_S | 2748 | 2751.0086 | 2907.8078 | 59 | 58.5443 | 58.5443 | 75.1193 | 98.3 | 98.3341 | 98.4586 | 0.097471 | 0.067964 | 0.015603 | 0.047876 | 0.038149 | 0.097426 | 0.067891 | 0.015499 | 0.04778 | 0.038149 | 0.12426 | 0.088795 | 0.019004 | 0.063045 | 0.04977 | 0.1242 | 0.0887 | 0.018877 | 0.062919 | 0.04977 | 1.6541 | 1.1821 | 0.25298 | 0.83926 | 0.66254 | 1.6534 | 1.1808 | 0.25129 | 0.83759 | 0.66255 | 1.6649 | 1.1609 | 0.26651 | 0.81776 | 0.65162 | 1.6641 | 1.1596 | 0.26474 | 0.81613 | 0.65162 | 59.811 | 46.6329 | 18.9582 | 32.9554 | 28.7622 | 59.8106 | 46.6338 | 18.9637 | 32.9584 | 28.765 | 76.2479 | 60.9263 | 23.0902 | 43.3987 | 37.5265 | 76.2476 | 60.9278 | 23.097 | 43.4012 | 37.5281
ZEB_lab_L_CL_100_C | 7060 | 7059.9934 | 6463.7079 | 436 | 436.4583 | 436.458 | 538.0587 | 76.9 | 75.3257 | 77.8914 | 0.69844 | 0.61439 | 0.40363 | 0.55445 | 0.48686 | 0.69811 | 0.61373 | 0.40094 | 0.55334 | 0.48685 | 0.85729 | 0.76071 | 0.41919 | 0.67255 | 0.58381 | 0.85689 | 0.7599 | 0.4164 | 0.67121 | 0.58381 | 1.5933 | 1.4138 | 0.77908 | 1.25 | 1.085 | 1.5926 | 1.4123 | 0.77389 | 1.2475 | 1.085 | 1.6002 | 1.4077 | 0.92478 | 1.2703 | 1.1155 | 1.5995 | 1.4062 | 0.91863 | 1.2678 | 1.1155 | 428.5803 | 421.5618 | 490.4329 | 381.6569 | 367.0648 | 428.5778 | 421.5701 | 490.5749 | 381.6913 | 367.1012 | 526.0548 | 521.9564 | 509.3349 | 462.9722 | 440.1914 | 526.053 | 521.9692 | 509.4852 | 462.9972 | 440.2071
ZEB_lab_L_NL_100_C | 4395 | 4382.8114 | 4379.8189 | 341 | 341.387 | 341 | 432.6158 | 78.2 | 76.3996 | 79.1534 | 0.55188 | 0.43847 | 0.20739 | 0.338 | 0.27801 | 0.55162 | 0.438 | 0.20601 | 0.33732 | 0.27801 | 0.69641 | 0.56168 | 0.22371 | 0.4294 | 0.35039 | 0.69609 | 0.56108 | 0.22222 | 0.42854 | 0.35039 | 1.6098 | 1.2983 | 0.51711 | 0.99256 | 0.80994 | 1.609 | 1.2969 | 0.51367 | 0.99058 | 0.80994 | 1.6166 | 1.2844 | 0.60749 | 0.99007 | 0.81435 | 1.6158 | 1.283 | 0.60345 | 0.9881 | 0.81435 | 338.6478 | 300.8524 | 251.9903 | 232.6634 | 209.6057 | 338.6458 | 300.8582 | 252.0633 | 232.6844 | 209.6265 | 427.336 | 385.391 | 271.8178 | 295.5887 | 264.1971 | 427.3345 | 385.4005 | 271.8981 | 295.6046 | 264.2063
ZEB_lab_L_WL_100_C | 3019 | 3014.7367 | 3146.2484 | 441 | 440.7167 | 441 | 560.781 | 72.9 | 74.0299 | 78.508 | 0.71895 | 0.50901 | 0.12493 | 0.30341 | 0.21517 | 0.71862 | 0.50847 | 0.1241 | 0.3028 | 0.21517 | 0.91206 | 0.66082 | 0.1447 | 0.40777 | 0.29438 | 0.91163 | 0.66011 | 0.14374 | 0.40696 | 0.29438 | 1.6264 | 1.1784 | 0.25804 | 0.72715 | 0.52494 | 1.6257 | 1.1771 | 0.25632 | 0.7257 | 0.52494 | 1.6313 | 1.155 | 0.28346 | 0.68844 | 0.48822 | 1.6306 | 1.1537 | 0.28158 | 0.68707 | 0.48822 | 441.1665 | 349.2572 | 151.7935 | 208.8522 | 162.2245 | 441.1638 | 349.2641 | 151.8375 | 208.8711 | 162.2405 | 559.6623 | 453.4187 | 175.8199 | 280.7016 | 221.9609 | 559.6601 | 453.4298 | 175.8718 | 280.7167 | 221.9686